|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Metric | Sample8 | Treated QC Passed | HG002 | Control QC Passed |
| Percent difference between observed and expected coefficient of variation (2 Mbp window) | 0.800 | yes | 4.728 | yes |
| Percent difference between observed and expected coefficient of variation (6 Mbp window) | 11.180 | yes | 12.245 | yes |
| Correlation with label density | 0.029 | yes | 0.070 | yes |
| Wave template correlation | 0.000 | yes | 0.000 | yes |